# Technical & Commercial Offer

PRE ENGINEERED BUILDING

Client	: -

Location: -

Ref	: - SUSPL/133/2021

Date	: - 09th July, 2021

The Offer Document consists of Three Parts –

Part 1: Technical Details (measurement, Specifications) and Offered Prices

Part 2: General Terms & Conditions

Part 3: Payment Terms.

Date: July 09, 2021

Quotation No.: SUSPL/133/PEB

To,

XYZ COMPANY

VADODARA/GUJARAT/INDIA

Sub: Designing, Fabrication, Supply and Erection of SUSPL PEB System (SUSPL/133/PEB)

# Dear Sir,

We thank you for your enquiry and the business opportunity with yourself.  We are pleased to submit our proposal for the project in conversation based on the discussions and information furnished to us.

# Our offer includes:

1) Building Features,

2) Physical Parameters & Assumptions made and

3) General, Commercial & Payment Terms.

Building Standards and assumptions are given in the Annexure.

We will soon provide you with the proposal drawing depicting the salient features of the building for your kind perusal and reference (post confirmation and finalization of contract).

Please feel free to contact us for any further clarification and we assure you of our best attention and service at all times.

We look forward to doing business with you.

# Thanking You,

# Nirav Patel

+91 8000007153

# For Shree Umiya Structure Pvt. Ltd.

Building features:

| Sr. No. | Parameter | Value | Remarks |
| --- | --- | --- | --- |
| Building Parameters |  |  |  |
| 1 | Building Width | 35.66 Meters | Out to out of end columns |
| 2 | Width Module | 2@17.09Meter | Double Slope Pre-Fab |
| 3 | Building Length | 30.48 Meters | Out to out of side columns |
| 4 | Building Height | 6 Meters | Clear height |
| 5 | Roof Slope | 1:10 |  |
| 6 | Column Base | Steel over RCC Foundations |  |
| 7 | Bay Spacing | 4@7.5 Meters | Center to Center of side columns |
| 8 | End Wall Type | Rigid Frame |  |
| End Wall |  |  |  |
| 1 | END Bay Spacing | 6@5.9 Meter | Center to Center of end columns |
| 2 | Canopy Structure | 02 Nos. |  |
| Wall Condition |  |  |  |
| 1 | Insulation Type | None | NA |
| 2 | Brick Wall | 3.00 Meters | All Side Walls |
| 3 | Near Side Wall | 3.00 Meters Height Brick Wall & Above Sheeted | 0.50mm TCT Bhushan/JSW PPGL Sheets, AZ- 150, 550MPA |
| 4 | Far Side Wall | 3.00 Meters Height Brick Wall & Above Sheeted | 0.50mm TCT Bhushan/JSW PPGL Sheets, AZ- 150, 550MPA |
| 5 | Left End Wall | 3.00 Meters Height Brick Wall & Above Sheeted | 0.50mm TCT Bhushan/JSW PPGL Sheets, AZ- 150, 550MPA |
| 6 | Right End Wall | 3.00 Meters Height Brick Wall & Above Sheeted | 0.50mm TCT Bhushan/JSW PPGL Sheets, AZ- 150, 550MPA |
| Roof Condition |  |  |  |
| 1 | Allowable Loads | None | NA |
| 2 | Roof Sheeting | Fully Sheeted | 0.47 mm Bhushan/JSW Make Bare GL Sheets, AZ-150, 550MPA |
| 3 | Ridge Condition | Continuous across the shed length | Plain 300X300mm Ridges |
| 4 | Ventilation | Turbo Ventilator | 10 Nos. |
| 5 | Sky Light | 2mm Polycarbonate Sheets, 500mm Width | 23.05 Sq. MTR Gross Area |
| Eave Condition |  |  |  |
| 1 | Outer Cladding | Water Gutter with Down Spouts | Considered Curved Eaves |
| Crane Condition |  |  |  |
| 1 | Level & Clearance | NA | 20MT+05MT |
| Surface Treatment |  |  |  |
| 1 | Primer | 25 Microns | Red Oxide Primer |
| 2 | First Coat | Enamel Paint | NA |
| 3 | Second Cost | Enamel Paint | NA |

Scope and Rates:

| Sr. No. | Scope of Work | Unit | Rate | Basic Cost |
| --- | --- | --- | --- | --- |
| 1 | Designing, Supply, Erection of Pre-Engineered Building 880.00 Sq. MTR O/O (Approx. Building Tonnage 51.079 MTS), TRANSPORTATION INCLUDED | KG | ₹ /- Excl. GST @18% | ₹ /- Excl. GST @18% |

Assumption, Deviations & Exclusions:

- Items and codes, which are not mentioned in this proposal, are not in SUSPL scope of supply

- We have considered the working height by assuming the dimension between Finished Floor Level and Natural Ground Level is not more than 1000mm, any deviation in this dimension shall be considered for additional charge towards erection of structure as well as the wall cladding works and structural accessories if any.

- Delay of payment from client part is subjected to additional remobilization charges i.e. 5% of total order value.

- Electricity for erection work is client scope.

- Micro/Macro project schedules for structural work will be submitted by SUSPL based on the site condition of civil work that will prevail the delivery schedule.

- Customer’s responsibility to provide a suitable convenient road for Trailer Movement and free space for Stacking of Material at site nearer to the erection point.

- Loading & Unloading being SUSPL scope, yet any local incidental payments are to be borne by the customer.

- SUSPL’s standard Paint system (Enamel) for primary structure is a) Oxford Blue, b) Suzzlon Green, c) Smoke Grey, d) Olive Green. In case the client chooses any different colour other than the above choice is subject to change in the delivery time.

- SUSPL’s have a wide variety of roofing & cladding panel colours in their inventory. The given delivery time is based on the standard colours. Any special colour is subject to involve time and cost variation if any.

- All foundation and civil drawings to be under SUSPL scope and further SUSPL to supervise and take the moral responsibility during the concrete casting.

- Roof slope considered 1:10.

- RCC base considered for mainframe columns.

- Sag rods considered along roof & cladding both.

- Brick wall considered on all sides as per above parameters.

- Diagonal Rod bracing considered for roof & sidewalls both.

- Steel rigid frame considered along end walls.

- Design, wind pressure and pressure co-efficient is considered as general as across the western region.

- 15 years of stability certificate will be provided with all supply & erection QAPs.

- Manufacturer’s Mill test certificate (Essar/Jindal) will be provided for all supplies.

- Minimum Thickness for Primary – 4mm, Secondary – 2mm

- Purlins will 120 GSM ,345 MPA.

- Framed openings Header & Jamb Considered as Cold Form Members.

- All side wall column support considered as FIXED Base. Interior and Wind columns pinned base considered. Roof top frame considered pinned base above mezzanine.

- No gutter and Down takes in the building. Curved Eaves considered.

- 2 No Cage Ladder considered for Roof Access.

- Canopies also curved eaves considered.

- Load for toilet area 2 Kn/m2 and 5 Kn/m2 for sunken area considered.

- First floor 1 T /m2 load and second floor 2 T/m2 as per drawings and remaining 1 T/m2 load considered.

- All Loadings as per IS and design as per AISC/MBMA considered.

- Windows supporting members for first and second floor not considered as no nos. or elevations given in the drawings.

- 2 nos. Lift support columns considered up to 15 m level.

# General and Commercial Terms and Conditions:

- The above offer is valid for five days.

- Any further supplies and labour work for structural fabrication or erection is to be charged in extra.

# Jurisdiction:

- All legal matters/disputes, if any, are only at the jurisdiction of Vadodara/Gujarat.

# Payment Terms and Conditions (non-negotiable):

- Minimum of 10% advance payment to be made along with the purchase order and signed contract.

- Another 25% along with drawings approval.

- Further 25% before structural material dispatch.

- 15% at erection team mobilization and erection initiation.

- 20% before sheet material dispatch.

- Balance to be cleared within fifteen days’ post project completion.

- All payments to be made only and only via NEFT/RTGS, Cheques or Demand Drafts.

Favouring: M/s. SHREE UMIYA STRUCTURE PVT LTD

# Bank Name: Axis Bank

# Account Name: SHREE UMIYA STRUCTURE PVT LTD

# Account Number: 920020068150924

# RTGS/NEFT IFSC Code: UTIB0002865 (Pratap Nagar, Vadodara)

- Above rates are exclusive of GST @18%.

Order to be released in favour of: 	M/s. SHREE UMIYA STRUCTURE PVT LTD

C-402, Lilac Residency, Vasna Bhayali Road

Vadodara, Gujarat 391410.

GSTIN: 24ABECS3492C1ZI

All communications to be sent to: 	M/s. SHREE UMIYA STRUCTURE PVT LTD

10 Vishnu Inds Estate, Opp. Narshiji Inds Estate,

Wadi Yamuna Mill Road, Pratap Nagar, Vadodara, Gujarat 390004.

Supplies & Services dispatch point:	Por GIDC, Vadodara, Gujarat 391243.

Thanking You,

# Nirav Patel

+91 8000007153

For Shree Umiya Structure Pvt. Ltd.